# Micro-Market vs Specialty Vending Selection Framework

Placement criteria, infrastructure checklist, revenue projection, and operator capability

Use this framework to choose between a kiosk-anchored micro-market and a specialty-vending program (single-category machines for coffee, healthy, fresh-food, or branded items) for a 50-300 person facility. The two formats are not interchangeable; they serve different audience sizes and operational economics.

# Placement criteria — when each format wins

Specialty vending wins below 75 employees or where loss-prevention concerns or 24/7 operation rule out an open-shelf micro-market. Micro-market wins above 75 employees, longer dwell time, or where fresh-food + planogram complexity is required.

| Criterion | Micro-market | Specialty vending |
| --- | --- | --- |
| Audience size | 75-500+ employees with dwell time | 20-150 employees, any dwell pattern |
| Loss prevention concern | Lower-shrink populations (corporate, healthcare, mfg with badge access) | Public access, high-traffic transit, 24/7 unsupervised |
| SKU complexity | 100-300 SKUs across categories | 20-40 SKUs in a single category |
| Fresh-food + cold-chain depth | Required — multiple coolers + deli/sandwich/salad | Single-category (e.g., one cold drink machine) |
| Capital + footprint | $25K-$60K equipment, 200-400 sq ft | $5K-$18K per machine, 12-30 sq ft each |
| Operator model | PCI-DSS kiosk + daily restock + cold-chain | Per-machine telemetry + 1-2x weekly restock |

# Infrastructure checklist by format

Infrastructure scope is the most common reason a planned format slips. Validate before signing the MSA.

☐  Micro-market — 200-400 sq ft contiguous floor space (kiosk + 2 coolers + ambient racks).

☐  Micro-market — 4-6 dedicated 120V/20A circuits per NEC 2023 Article 422.

☐  Micro-market — wired ethernet drop at kiosk; cellular failover ≥ -85 dBm.

☐  Specialty vending — 1 dedicated 120V/20A circuit per machine; NEMA 5-20R within 6 feet.

☐  Specialty vending — cellular signal ≥ -85 dBm or wired ethernet at each machine.

☐  Both formats — ADA Section 305 clear floor space 30 inch × 48 inch at each operable part.

☐  Both formats — ADA Section 308 reach range 15-48 inches on all operable parts.

# Revenue projection — typical ranges (Automatic Merchandiser 2024 SOI data)

These ranges reflect mature programs in their second year — first year is typically 60-80% of mature. Adjust for region (Midwest 0.85x, West Coast 1.15x).

| Format / audience | Monthly gross revenue | Operator net margin | Host commission (typical) |
| --- | --- | --- | --- |
| Single combo (15-50 emp) | $300-$700 | 20-30% | 0-10% |
| Paired snack+bev (50-100 emp) | $1,200-$2,800 | 22-30% | 10-15% |
| Specialty single (one category) | $600-$1,800 | 25-35% | 10-20% |
| AI cooler (75-150 emp) | $2,000-$5,000 | 20-28% | 15-20% |
| Micro-market (100-250 emp) | $4,500-$12,000 | 18-25% | 15-25% |
| Micro-market (250-500 emp) | $10,000-$25,000 | 20-28% | 18-28% |

# Operator capability profile — required for either format

☐  Telemetry on every machine / kiosk; sub-15-minute heartbeat.

☐  PCI-DSS v4.0 attestation (SAQ-C-VT or higher).

☐  FDA Food Code 2022 cold-chain attestation for refrigerated TCS food.

☐  ADA Section 308 annual recertification.

☐  Service SLA Tier-1 < 24 hours, Tier-2 < 7 days.

☐  Refund-rate KPI < 2% of transactions.

☐  QBR cadence quarterly with action items.

☐  COI ≥ $2M product liability with host as additional insured.

# Decision shortcut — which to pick

☐  < 50 employees → specialty or combo (micro-market won't pencil).

☐  50-75 employees, narrow SKU need → specialty paired with a coffee unit.

☐  75-150 employees, broad need + fresh food → micro-market.

☐  150+ employees → micro-market is the standard.

☐  24/7 unsupervised public access → specialty vending only (shrink risk too high for open shelves).

☐  Single high-volume category (e.g., coffee at a 500-person call center) → branded specialty as the primary format.

This framework is operational guidance. Revenue projections vary materially by region, audience, and operator capability — obtain projections from 3 vetted operators before committing.